SPECIFICATION

Sections 07 90 00 / 07 95 00

Willseal Seismic - HS by Willseal LLC

Preformed, Pre-Compressed, Self-Expanding, Tensionless, Sealant System with Silicone Coated Surface, Watertight, Energy-Efficient, Primary Seal for Non-Traffic Rated Horizontal Expansion Joints.

# PART 1 – GENERAL

* 1. Work Included

1. The work shall consist of furnishing and installing waterproof expansion joints in accordance with the details shown on the plans and the requirements of the specifications. Preformed sealant shall be silicone pre-coated, preformed, pre-compressed, self-expanding, Seismic - HS system.
2. Related Work

* Division 4 - Masonry
* Division 7 - Thermal & Moisture Protection
* Division 7 - Sealants, Caulking and Waterproofing
  1. Submittals

1. General – Submit the following according to Division 1 Specification Section.
2. Standard Submittal Package – Submit typical expansion joint drawing(s) indicating pertinent dimensions, general construction, expansion joint opening dimensions and product information.
3. Sample of material is required at time of submittal.
4. Quality control, manufacturer shall be ISO-9001, certified and shall provide written confirmation that a formal Quality Management System and Quality Processes have been adopted in the areas of, (but not limited to) Manufacturing, Quality Control and Customer Service for all processes, products and their components. Alternate manufacturers will be considered provided they submit written proof that they are ISO 9001, certified prior to the project bid date.
5. All products must be certified by independent laboratory tests that they are not comprised of un-bonded vertical laminations.
6. All products shall be certified in writing to be: a) capable of being expanded from the mean joint size at 40°F to the stated maximum dimension without exerting any tension on the attached substrate; and b) capable of withstanding 150°F (65°C) for 3 hours while compressed down to the minimum of movement capability dimension of the basis of design product (-50% of nominal material size) then extended to the stated extension (+50%) without evidence of foam delamination or sealant face de-bonding from the material; and that the same material after the heat stability test and after first being cooled to room temperature will subsequently self-expand to the maximum of movement capability dimension of the basis-of-design product (+50% of nominal material size) within 24 hours at room temperature 68°F (20°C).
7. All products must be certified by independent laboratory test report to be free in composition of any waxes or wax compounds using FTIR and DSC testing.
8. Product must be manufactured in the USA.
   1. Product Delivery, Storage and Handling
9. Deliver products to site in Manufacturer’s original, intact, labeled containers. Handle and protect as necessary to prevent damage or deterioration during shipment, handling and storage. Store in accordance with manufacturer’s installation instructions.
   1. Basis of Design
10. All joints shall be designed to meet the specified performance criteria of the project as manufactured by: Willseal LLC, 34 Executive Drive, Hudson, NH 03051, 800-274-2813. Willseal.com, custserv@willseal.com.
11. Alternate manufacturers must demonstrate that their products meet or exceed the design criteria and must submit certified performance test reports performed by nationally recognized independent laboratories as called for in section 1.02 Submittals. Submittal of alternates must be made three weeks prior to bid opening to allow proper evaluation time.
    1. Quality Assurance
12. The General Contractor will conduct a pre-construction meeting with all parties and trades involved in the treatment of work at and around expansion joints including, but not limited to, concrete, mechanical, electrical, HVAC, landscaping, masonry, curtain wall, waterproofing, fire-stopping, caulking, flooring and other finish trade subcontractors. All superintendents and foremen with responsibility for oversight and setting of the joint gap must attend this meeting. The General Contractor is responsible to coordinate and schedule all trades and ensure that all subcontractors understand their responsibilities in relation to expansion joints and that their work cannot impede anticipated structural movement at the expansion joints, or compromise the achievement of water-tightness or life safety at expansion joints in any way.
13. Warranty – Manufacturer’s standard warranty shall apply.
14. LEED Building Performance Requirements:
15. The VOC of the silicone must not exceed 50 grams/liter.
16. Additional credits may be available for projects within 500 miles of Hudson, NH.

## PART 2 – PRODUCT

* 1. General

1. Provide a durable, watertight, expansion joint rated for +/-50% for isolation joints and expansion joints in decks and floors. Typical locations include but are not limited to the following: subject to review, joints over occupied space, stair tower perimeters, elevator perimeters, parking deck perimeter joints, treatment plant perimeters and covers, and structural expansion joints. System shall perform waterproofing, non-traffic bearing, sound proofing.
2. Provide Willseal Seismic - HS as manufactured by Willseal LLC and as indicated on drawings for non-traffic rated expansion joint locations. Sealant system shall be comprised of the following components: 1) modified acrylic impregnated monolithic foam proven not to vertically delaminate and will fully extend without putting tension on the substrate, 2) pre-coated on the traffic surface with silicone proven not to de-bond or separate if exposed to thermal shock cycling. Impregnated foam material must be proven not to take a compression set over time and the joint sealant must not rely on “injected sealant bands” along the substrate for its sealing properties. 3.) constructed of a monolithic foam core and not un-bonded vertical laminations.
3. Preformed sealant shall be silicone sealant coated, preformed, pre-compressed, self-expanding, foam sealant system. Expanding foam to be monolithic cellular foam impregnated with a hydrophobic, acrylic, waterproofing polymer, and not containing any unbonded foam laminations. Seal shall combine factory-applied, silicone and a backing of acrylic-impregnated expanding monolithic foam into a unified, tensionless, sealant system. Material can be supplied with the sealant bellows on one or both sides of the joint system.
4. Material shall be capable of movements of +50%, -50% (100% total) of nominal material size.
5. Silicone sealant face to be factory- applied to the foam and cured before final compression. When compressed to final supplied dimension, a bellow(s) to handle movement must be created in the silicone coating. Silicone coatings to be available in standard colors for coordination with typical building materials. Special order and separate colors may be chosen for each coated surface.
6. Select the sealant system model appropriate to the movement and design requirements at each joint location that meet the project specification or as defined by the structural engineer of record.
7. The monolithic foam core should have a flame spread index of no greater than 5 and a smoke index of no greater than 5.
8. Any laminations, either vertical or horizontal, should only be added if beneficial to the preformed hybrid horizontal expansion joint. Laminations such as air-barriers, smoke barriers, or water membranes. All laminations, vertical or horizontal, shall be factory installed and 100% factory bonded.
9. Willseal Seismic - HS to be installed into manufacturer’s standard field-applied epoxy or approved adhesive. The Willseal Seismic - HS is to be installed slightly recessed from the surface, such that when the bead of silicone is installed between the substrates and the foam-and-silicone-bellow(s), the system will be essentially flush with the substrate surface.
10. Manufacturer’s Checklist must be completed by expansion joint subcontractor and returned to manufacturer at time of ordering material.
    1. Fabrication
11. Willseal Seismic - HS by WILLSEAL must be supplied pre-compressed to less than the joint size, packaged in shrink-wrapped lengths (sticks). If stick lengths are required in lengths other than 6.56LF (2M) add at least 10 working days to the lead time.
12. Directional changes and terminations into horizontal plane surfaces can be provided by factory supplied 90-degree angles containing typical 12-inch long leg and 6-inch long leg, or custom leg on each side of the direction change, or through field fabrication in strict accordance with published installation instructions. In most cases field conditions are such that the restrictive nature of the factory supplied corners do not conform to as built conditions and may outweigh the benefits. Consult manufacturer for proven field transition methods.

## PART 3 – EXECUTION

* 1. Installation

1. Preparation of the Work Area
2. The contractor shall provide a properly formed and prepared expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings. Deviations from these dimensions will not be allowed without the written consent of the engineer of record.

1. The contractor shall clean the joint opening of all contaminants immediately prior to installation of expansion joint system. Repair spalled, irregular or unsound joint surfaces using accepted industry practices for repair of the substrates in question. Remove protruding roughness to ensure joint sides are smooth. Ensure that there is sufficient depth to receive the full depth of the size of the Willseal Seismic - HS being installed plus at least ¼-inch (6mm) for the application of corner beads. Refer to Manufacturers Installation Guide for detailed step-by-step instructions.
2. No drilling, or screwing, or fasteners of any type are permitted to anchor the sealant system into the substrate.
   1. Clean and Protect
3. Protect the system and its components during construction. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION